## Slide 1: Flow-Through Uroflow Device
Group 32
Presented by Jodi Small

## Slide 2: Background: Diseases
Lower Urinary Tract Symptoms (LUTS)
  Affects 90% men between 50-80 years old
  Bladder Outlet Obstruction (BOO)
  Benign Prostatic Hyperplasia (BPH)
  Overactive Bladder (OAB)
Notes: Say that diagnosing each disease using measuring flow rate and volume can come from our device

## Slide 3: Background: Diseases
Bladder Outlet Obstruction (BOO)
  Causes
    Pelvic Tumors
    BPH
    Bladder Stones
  Symptoms
    Low Urine Flow
    Frequent Urination
  Diagnosis Methods
    Measure Flow Rate
    Measure Bladder Wall Thickness
Notes: 85% patients with walls >5mm, 37% <5mm

## Slide 4: Background: Diseases

## Slide 5: Background: Diseases
Benign Prostatic Hyperplasia (BPH)
  Periurethral tissue is 2% prostate tissue
  Prostatic Infarction
    Benign tumors around urethra
    85% patients with urinary retention issues + BPH had prostatic infarcts
    3% patients with infarcts and BPH but no urinary retention issues

## Slide 6: Background: Diseases

## Slide 7: Background: Diseases

## Slide 8: Background: Diseases
Overactive Bladder (OAB)
  16% men and women in US
  Cardinal Symptoms
    Bladder unexpectedly and frequently releasing urine
    > 8x day, 2x night

## Slide 9: Existing Technologies
Commercial Products
  Urocap IV, spinning disk by Laborie

## Slide 10: Existing Technologies
Commercial Products
  Urocap IV, spinning disk by Laborie
  FloRite by Flowmetrica

## Slide 11: Existing Technologies
Commercial Products
  Urocap IV, spinning disk by Laborie
  FloRite by Flowmetrica
  BladderScan by Verathon

## Slide 12: Existing Technologies
Commercial Products
  Urocap IV, spinning disk by Laborie
  FloRite by Flowmetrica
  BladderScan by Verathon
  Various products by Medical Measurement Systems

## Slide 13: Existing Technologies
Commercial Products
  Urocap IV, spinning disk by Laborie
  FloRite by Flowmetrica
  BladderScan by Verathon
  Various products by Medical Measurement Systems
  Flowsky by TOTO

## Slide 14: Existing Technologies
Published Research
  “Flow rate measurement in microfluidics using optical sensors”
    Nam-Trung Nguyen and Thai-Quang Truong
  Adaptable ideas from measuring flow rate of capillaries
  Video microscopy using sensors from computer mice

## Slide 15: Existing Technologies
Patented Technology
  US 4554867 A – Toilet Mounted Urine Flowmeter

## Slide 16: Existing Technologies
Patented Technology
  US 4554867 A – Toilet Mounted Urine Flowmeter
  US 5495854 A – Self-Testing Device For Measuring Urinary Flow Rates

## Slide 17: Existing Technologies
Patented Technology
  US 4554867 A – Toilet Mounted Urine Flowmeter
  US 5495854 A – Self-Testing Device For Measuring Urinary Flow Rates
  US 20110265576 A1 – Uroflowmeter attachable to toilet

## Slide 18: Need
Creating technology that is
  Accurate
  Minimal clean up
  Minimal maintenance

## Slide 19: Project Scope
  Create a flow-through uroflow system that gives volume and flow rate of urine in real-time.
Notes: Explain relationship between volume and flow rate

## Slide 20: Design Specifications
Specification | Specific Values
Measurement of flow rate and volume not dependent on contact with urine. | 
System’s size adaptable to standard European and American toilet sizes | Depth 0.686-0.762 m, Width <0.508 m, Possible urinal adaptation
Larger target area accounting for deviation in stream | Smallest case is 0.25 m2
Water Resistant Machinery | ISO 2281 – suitable for everyday use, splash/rain resistant
Capture volume from 0-1L | Accurate to 3 mL
Capture flow from 0-50 mL/s | Emphasis on 0-5 mL/s Accurate to 0.2 mL/s
Notes: ISO 2281 – Suitable for everyday use, splash/rain resistent, not submersion. Meant for watches but still okay.

## Slide 21: Design Schedule

## Slide 22: Team Organization
Group 32
Jordan Nick
Signal Processing, Mechanical Design
Akhil Sundar
Marketing, Industry Research, Vallidation, and Verification
Jodi Small
Computer Science, Group Management

## Slide 23: References
Abrams, Paul H., and Roger C.L. Feneley. “The Significance of the Symptoms Associated with Bladder Outflow Obstruction.” Urologia Internationalis 33.1-3 (1978): 171–174. Web. 18 Sept. 2014.
“Adenoma.” Medterms. N.p., n.d. Web. 17 Sept. 2014.
"BladderScan® for Quick Bladder Volume Measurement." Bladder Volume Measurement with BladderScan®. N.p., n.d. Web. 17 Sept. 2014.
"Bladder Outlet Obstruction: MedlinePlus Medical Encyclopedia." U.S National Library of Medicine. U.S. National Library of Medicine, n.d. Web. 12 Sept. 2014.
Carter, Garry L., and Vaughan B. Weeks. “Toilet Mounted Urine Flow Meter.” 26 Nov. 1985. Web. 17 Sept. 2014.
Cha, Eun Jong et al. “Uroflowmeter Attachable to Toilet.” 3 Nov. 2011. Web. 17 Sept. 2014.
Chapple, Christopher R., and Claus G. Roehrborn. “A Shifted Paradigm for the Further Understanding, Evaluation, and Treatment of Lower Urinary Tract Symptoms in Men: Focus on the Bladder.” European Urology 49.4 (2006): 651–659. Web. 17 Sept. 2014.
Currie, Richard J. “Self-Testing Device for Measuring Urinary Flow Rates.” 5 Mar. 1996. Web. 18 Sept. 2014.
“FloRite – Disposable Urine Flow Test Received FDA Registration (#10044145) and Can Be Sold in the USA.” N.p., n.d. Web. 17 Sept. 2014.
"Flowmaster - PC Based Wireless Uroflowmeter." Urology. N.p., n.d. Web. 16 Sept. 2014.
“Lower Urinary Tract Symptoms in Men | Doctor PDF.” Patient.co.uk. N.p., n.d. Web. 18 Sept. 2014.

## Slide 24: References
Manieri, C. et al. “The Diagnosis of Bladder Outlet Obstruction in Men by Ultrasound Measurement of Bladder Wall Thickness.” The Journal of Urology 159.3 (1998): 761–765. Print.
Megyeri, J., and J. Varga. “Prostatic Infarction.” International Urology and Nephrology 7.4 (1975): 315–319. Print.
Nguyen, Nam-Trung, and Thai-Quang Troung. “Flow rate measurement in microfluidics using optical sensors.” 1st international conference on sensing technology, Palmerston North. 2005.
Nitti, Victor W. “Pressure Flow Urodynamic Studies: The Gold Standard for Diagnosing Bladder Outlet Obstruction.” Reviews in Urology7.Suppl 6 (2005): S14–S21. Web. 17 Sept. 2014.
Oesterling, Joseph E. “Benign prostatic hyperplasia: a review of its histogenesis and natural history.” The prostate 29 S6 (1996). 67-73.
"Toilet Sizes. Standard Toilet Dimensions." Toilet Sizes. Standard Toilet Dimensions. N.p., n.d. Web. 21 Sept. 2014. <http://www.rempros.com/dimensions/toilet_sizes.html>.
“Uroflowmeter Measures Urine Volume Simply by Using Toilet #DigInfo.” YouTube. YouTube, n. d. Web. 19 Sept. 2014.
"Uroflowmetry: MedlinePlus Medical Encyclopedia." U.S National Library of Medicine. U.S. National Library of Medicine, n.d. Web. 17 Sept. 2014.
Wiest, Peter P., and Hubert G. Fuchs. “Device for Measuring the Urine Flow (uroflow) of Patient.” 5 Jan. 1993. Web. 18 Sept. 2014.

## Slide 25: Questions?